## Calibration-Workseet
Sonde Calibration Worksheet | [7 empty] | Rev. 2024_August
Sonde ID: |  | Date/Time: |  |  | Initials:
Project:
Dissolved Oxygen |  | Barometric Pressure |  |  |  | mmHg |  | Pass Criteria: ± 5%
Initial Reading |  |  | Calibrated Reading |  |  | Temperature (°C)
% |  | mg/L | % |  | mg/L
Specific Conductance | [7 empty] | Pass Criteria: ± 5%
Standard Value |  | Standard Lot # |  | Initial µS/cm |  | Calibrated µS/cm |  | Temp (°C)
1413
pH | [7 empty] | Pass Criteria ±0.2
Value | Buffer Lot # |  | Initial | Calibrated |  | mV* | Temp | Range (mV)
7 | [7 empty] | (0 ± 50)
4 | [7 empty] | (180 ± 50)
10 | [7 empty] | (-180 ± 50)
* Note: Difference in mV between ph 4 and 7, and 7 and 10 should be approximately 165 to 180 mV.
If not probe should be reconditioned and recalibrated.
Turbidity | [7 empty] | Pass Criteria
Value | Standard Lot# |  | Initial (NTU) |  | Calibrated (NTU)
0 | DI | [6 empty] | ± 1 NTU
100 | [7 empty] | ± 5 NTU
1000 | [7 empty] | ± 50 NTU
Calibration Verification |  |  | Date/Time: |  |  |  | Initials:
Dissolved Oxygen |  |  | Temp. |  | Pressure (mmHg) |  |  | P/F
% | mg/L
Specific Conductance |  |  | Standard Lot# |  | Reading |  | Temp | P/F
pH Value |  | Buffer Lot # |  | Reading |  | mV | Temp | P/F
7
4
10
Turbidity (NTU) |  | Standard Lot# |  |  | Reading (NTU) |  |  | P/F
0 |  | DI
100
1000
Maintenance |  |  |  | Yes |  | Notes
Software update
Factory reset
pH junction fluid replaced
pH juction replaced
Turbidity wiper changed
Other maintenance performed

## Sonde_Deployment-Retrieval Shee
Sonde Deployment/Retrieval Field Sheet | [8 empty] | Sonde Calibration Worksheet | [7 empty] | Rev. 2024Aug
Station name/ID: | [8 empty] | Sonde ID: |  | Date/Time: |  |  | Initials:
Deviation from station: | [8 empty] | Project:
Sonde #: | [8 empty] | Dissolved Oxygen |  | Barometric Pressure |  |  |  | mmHg |  | Pass Criteria: ± 5%
Staff at deployment: | [8 empty] | Initial Reading |  |  | Calibrated Reading |  |  | Temperature (°C)
Location Description: | [8 empty] | % |  | mg/L | % |  | mg/L
[9 empty] | Specific Conductance | [7 empty] | Pass Criteria: ± 5%
Lat/Long: | [8 empty] | Standard Value |  | Standard Lot # |  | Initial µS/cm |  | Calibrated µS/cm |  | Temp (°C)
DO Field Cal: |  |  |  | mm Hg |  | mg/L |  | °C | 1413
Date/time deployed: | [8 empty] | pH | [7 empty] | Pass Criteria ±0.2
[9 empty] | Value | Buffer Lot # |  | Initial | Calibrated |  | mV* | Temp | Range (mV)
Staff at retrieval: | [8 empty] | 7 | [7 empty] | (0 ± 50)
Date/time retrieved: | [8 empty] | 4 | [7 empty] | (180 ± 50)
Condition at time of retrieval: |  |  | FALSE | Submerged | FALSE | Buried | FALSE | Exposed | 10 | [7 empty] | (-180 ± 50)
|  |  | FALSE | Other |  |  |  |  | * Note: Difference in mV between ph 4 and 7, and 7 and 10 should be approximately 165 to 180 mV.
Anchor: | FALSE | Rebar | FALSE | Other | Anchor Removed |  | FALSE | Yes | If not probe should be reconditioned and recalibrated.
| FALSE | T-post |  |  |  |  | FALSE | No | Turbidity | [7 empty] | Pass Criteria
| FALSE | Cable/float | [6 empty] | Value | Standard Lot# |  | Initial (NTU) |  | Calibrated (NTU)
Comments: | [8 empty] | 0 | DI | [6 empty] | ± 1 NTU
[9 empty] | 100 | [7 empty] | ± 5 NTU
[9 empty] | 1000 | [7 empty] | ± 50 NTU
[9 empty] | Calibration Verification |  |  | Date/Time: |  |  |  | Initials:
Deployment Measurments from second sonde: |  |  |  |  | Retrieval Measurements from second sonde: |  |  |  | Dissolved Oxygen |  |  | Temp. |  | Pressure (mmHg) |  |  | P/F
Temp (C°) |  |  |  |  | Temp (C°) |  |  |  | % | mg/L
SC (µS/cm) |  |  |  |  | SC (µS/cm)
Salinity (ppT) |  |  |  |  | Salinity (ppT) |  |  |  | Specific Conductance |  |  | Standard Lot# |  | Reading |  | Temp | P/F
DO (mg/L) |  |  |  |  | DO (mg/L)
DO saturation (%) |  |  |  |  | DO saturation (%) |  |  |  | pH Value |  | Buffer Lot # |  | Reading |  | mV | Temp | P/F
pH |  |  |  |  | pH |  |  |  | 7
Turbidity (NTU) |  |  |  |  | Turbidity (NTU) |  |  |  | 4
Additonal Comments: | [8 empty] | 10
[9 empty] | Turbidity (NTU) |  | Standard Lot# |  |  | Reading (NTU) |  |  | P/F
[9 empty] | 0 |  | DI
100
Picture or cross section sketch: |  |  |  |  | Picture or Plan view sketch: |  |  |  | 1000
[9 empty] | Parameter |  | In-Calibration |  | Linear Interpolation |  | Corrected Qualifier |  | Rejected Qualifier
[9 empty] | Temperature |  | ± 0.5 |  | ± 2 |  | CT |  | RT
[9 empty] | Conductivity |  | ± 5 % |  | ± 30 % |  | CSC |  | RSC
[9 empty] | Dissolved Oxygen |  | ± 5 % |  | ± 30 % |  | C%, CDO (mg/L) |  | R%, RDO (mg/L)
[9 empty] | pH |  | ± 0.2 |  | ± 1 |  | CPH |  | RPH
[9 empty] | Turbidity (NTU) 0 |  | ± 1 |  | ± 10 |  | CY |  | RY
[10 empty] | 100 | ± 5 |  | ± 30
[10 empty] | 1000 | ± 50 |  | ± 300