Lake/Reservoir sampling equipment checklist

| SAMPLE COLLECTION - Laptop computer - Field Sheets - Labeled bottles for each site - Clipboard - Pens and sharpies - Extra RIDs - Acid kit with Nitric, Sulfuric, Phosphoric, and Hydrochloric Acid. - Extra bottles: Cubitainers, 8oz Ambers, 1L Ambers, E. Coli bottles, Microcystin bottles, Zooplankton bottles  Water carboy w/ deionized water  Lugol solution  Pipette(s)  Disposable gloves (nitrile) - Geopump & case - 12 Volt Battery  Clean Teflon tubing  Inline filters  IDEXX Equipment: Bottles, Sealer, Inoculants, Incubator, Black Light, AC and DC power cords. EQUIPMENT FOR FIELD MEASUREMENTS - Lake sonde - Sonde cables  Battery Packs -Troll Com  Sponge  Probe removal tools GENERAL - Coolers - Ice - Dry Ice Cooler - Dry Ice  Extra batteries  Backpack  Raincoats - Cell Phone Inlet/Outlet Stream Measurements - Bank pins - Flow meter - Measuring tape - Top setting wading rod - Waders | LAKE SURVEYS  Kemmerer bottle  Glass-fiber filters  Filter flask/funnel/hand pump/ filter holder/clamp (whew!)  Petri dishes - Opaque bottle  Aluminum foil  Secchi Disk  Forel-Ule color comparator  Empty lake water carboy - Glass VOC/SVOC water tote - 5-gallon bucket BOAT EQUIPMENT  PFD's; Life jackets ( )  Anchor(s)  Throwable flotation device  Oars  Depth Finder;(Lorance, Hummingbird, Secchi)  Spare trailer tire  Boat keys  12-volt battery (2-3)  Battery charger  Electric motor  Raft  Foot Pump  Paddles  Opt. Raft floorboards, seats  Opt. Raft motor mount, repair kit  Fire Extinguisher Zooplankton Sampling - 50-micron Wisconsin style net with cup - 150-micron Wisconsin style net with cup - Ethanol - Electrical Tape - Carabiner with 5-meter rope - Small bucket - Squeeze bottle with DI water - Alka-Seltzer tabs - Pump with long hose |
| --- | --- |