NMED Drinking Water Bureau  1190 St. Francis Drive,  Santa Fe, NM  87505

1-877-654-8720     https://www.env.nm.gov/drinking_water/

New Mexico Environment Department

Protecting Our Environment, Preserving The Enchantment

Drinking Water Bureau

This checklist is to be used by applicants to determine whether their application for a public water system project is complete.  The items below are considered essential.  Not all items will apply to all projects.  The symbol “” is used to denote that the item was present in the application; “☒” is used to denote that the item was absent.  Incomplete applications will not be reviewed.  Application requirements are stated in the drinking water regulations at 20.7.10.201 NMAC, http://www.nmcpr.state.nm.us/NMAC/parts/title20/20.007.0010.htm.

| Water System Name, NM35XXXXX |  | Received date/time: |
| --- | --- | --- |
|  | Completed application form for Project Impacts A B C D E F G H I J K, available at http://www.nmenv.state.nm.us/dwb/construction/ |  |
|  | NMAC 20.7.10.201.A |  |
|  | Plans, sealed on all pages by a professional engineer registered in New Mexico for Project Impacts A B C D E F G H I J K |  |
|  | NMAC 20.7.10.201.B(1) |  |
|  | Specifications, sealed (at least on the first page) by a professional engineer registered in New Mexico for Project Impacts A B C D E F G H I J K |  |
|  | NMAC 20.7.10.201.B(1) |  |
|  | Engineering design summary for Project Impacts A B C D E F G H I J K |  |
|  | NMAC 20.7.10.201.B(2) |  |
|  | Disinfection plan, including sampling for bacteria meeting AWWA standards for Project Impacts A B C D E F G H I J K |  |
|  | NMAC 20.7.10.201.B(3) |  |
|  | Other information requested by the department for Project Impacts B, F, H and K |  |
|  | NMAC 20.7.10.201.B(4) |  |
|  | Letter from Drinking Water Bureau Community Services Coordinator Verifying that the System Demonstrated Adequate Technical, Managerial & Financial Capacity (See Appendix A of the application, Page 3 of 3); for Project Impact J |  |
|  | NMAC 20.7.10.201.C |  |
|  | Storage tank – description of an adequate foundation for Project Impact C |  |
|  | NMAC 20.7.10.201.D(1) |  |
|  | Appropriate State Engineer Office permit and for an existing well log and proof of completion for Project Impact A |  |
|  | NMAC 20.7.10.201.E(1), and also when applicable 20.7.10.201.T(6) |  |
|  | Requirement to sample for regulated and secondary contaminants for Project Impact A |  |
|  | NMAC 20.7.10.201.E(2) |  |
|  | Contaminant inventory for Project Impact A |  |
|  | Ground water – NMAC 20.7.10.201.F or Surface water – NMAC 20.7.10.201.G |  |
|  | The application is complete. Written comments will be sent when review is complete. |  |
|  | The application is incomplete and will not be reviewed. |  |
| COMMENTS: |  |  |