New Mexico Environment Department  1190 St. Francis Drive,  Santa Fe, NM  87505

800-219-6157     www.nmenv.state.nm.us

New Mexico Environment Department

Protecting Our Environment, Preserving The Enchantment

Drinking Water Bureau

NOTICE OF PROJECT COMPLETION TEMPLATE

On or before (date 120 days after completion) record drawings and certification of project completion will be submitted in electronic format.  Today, (date of Notice of Project Completion), (Name of Engineer of Water System Representative), submits this notice of project completion on behalf of (Name of Water System), NM3500000.  The notice includes the project approval letter and attachments that provide evidence that the requirements of 20.7.10.201.T and 20.7.10.201.U NMAC (http://www.nmcpr.state.nm.us/nmac/parts/title20/20.007.0010.pdf) listed below have been met.

☐  DWB project approval letter (no further review of the following attachments is necessary without this letter);

☐  a written statement from a registered professional engineer or a representative of the water system that all conditions of project approval were accomplished;

☐  evidence of proper flushing and disinfection in accordance with the appropriate ANSI/AWWA standard, including bacteriological sampling results;

☐  other water quality data where appropriate;

☐  all other documentation which may have been required during the plan review process;

☐confirmation that the water system owner has been provided with an operation and maintenance manual for the new facility

☐  when the project includes construction of a new source or incorporation of an existing source into a public water supply system, documents filed with the state engineer office, including the well log and proof of completion of well for ground water sources, and a proof of completion of works for surface water sources.

☐For a project requiring department approval, the supplier of water shall submit record drawings and certification of project completion in an electronic format acceptable to the department within 120 days after completion of the project.

| Name of Water System Representative |  | Signature |  | Date |
| --- | --- | --- | --- | --- |