AIR QUALITY BUREAU PROCEDURE

# Effective Date:  May 31, 2002			Procedure Number: 02.005-01

### Title:  APPLICABILITY OF 20 NMAC 2.18, 2.33, and 2.34

Reference:     A.  20 NMAC 2.18, Section 107

## B.  20 NMAC 2.33, Section 107

C.  20 NMAC 2.34, Section 108

D.  Memo to Cecilia Williams, Chief, Air Quality Bureau, dated             December 22, 1998, Subject: Applicability of 20 NMAC 2.33 to Gas Turbines, from Richard Goodyear.

E.   Memo to Sandra Ely, Chief, Air Quality Bureau, dated April 11, 2002, Subject: Applicability of 20 NMAC 2.18 and 2.34, from Richard Goodyear.

PURPOSE:   To clarify the applicability of 20 NMAC 2.18, 2.33, and 2.34.

POINT OF CONTACT:    Permit Programs Manager

POLICY AND PROCEDURE:

As written, the use of the terms “gas burning equipment” in 20 NMAC 2.33 and “oil burning equipment” in 20 NMAC 2.18 and 2.34 appear to apply to any equipment that uses natural gas or fuel oil as a fuel.  References D and E show that the intent of the rules was limited to external combustion emission sources, such as gas and oil fired boilers and heaters.  These terms, as used in these three regulations, do not apply to internal combustion emission sources, such as turbines or other IC engines that utilize gas or oil as a fuel.  This interpretation applies in all permitting actions, regardless of the program (NSR, Title V, PSD, etc.).

# Original signed by                                              May 31, 2002

# Sandra Ely					Date

# Bureau Chief