Lake/Reservoir sampling equipment checklist

| SAMPLE COLLECTION ( Water carboy w/ deionized water ( Nitric acid & tips ( Sulfuric acid & tips ( Pipetter(s) ( Disposable gloves (nitrile) ( Safety glasses ( Cubitainers ( Septum vials for organics (8260) ( Amber liter bottles (8270) Geopump & case 12 Volt Battery ( Clean Teflon tubing ( Inline filters ( Clipboard ( Lab forms (nut,met,sed,pest,rad,Cn) ( Washing bottle(s) w/ DI ( Marking pens ( Specimen/diatom vials ( IDEXX Equipment: Bottles, Sealer, Inoculants, Incubator, Black Light, QC Theremograph, AC and DC power cords. EQUIPMENT FOR FIELD MEASUREMENTS YSI datalogger and sonde YSI lake cables (250’, 25”) ( Standards for pH, Conductivity, Turb ( Graduated cylinder ( Magnetic stirrer (AC or battery) GENERAL Coolers Ice Dry Ice Cooler Dry Ice ( Tool box (LAKE) ( Kimwipes ( Extra batteries ( Topo maps ( Tape and rubber bands ( First aid kit ( Flashlight ( Backpack ( Raincoats ( Field Guides (Mammals,birds,tracks) ( Binoculars Camera GPS Cell Phone | LAKE SURVEYS ( Lugols Solution ( Kemmerer bottle ( Eckmann Dredge ( Glass-fiber filters ( Filter flask/funnel/hand pump/ filter holder/clamp (whew!) ( Petri dishes ( Aluminum foil ( Secchi Disk ( Forel-Ule color comparator ( Underwater photometer ( Empty lake water carboy BOAT EQUIPMENT ( Gas can / 2-cycle oil ( PFD's; Life jackets ( ) ( Anchor(s) (Lg &/or Sm) ( Throwable flotation device ( Oars ( Depth Finder;(Lorance, Hummingbird, secchi) ( Spare trailer tire ( Boat keys ( 12-volt battery (2-3) ( Battery charger ( Electric motor ( 5 hp gas motor with gas can ( Raft ( Foot Pump ( Paddles ( Opt. Raft floor boards, seats ( Opt. Raft motor mount, repair kit ( Fire Extinguisher Inlet/Outlet Stream Measurements Bank pins Flow forms Flow meter Measuring tape Top setting wading rod Field forms Waders YSI stream cable (~10’) |
| --- | --- |