# Attachment A-1 Chemical Data Verification and Validation Worksheet

Study Name:

Year:

Project Coordinator:

Data covered by this worksheet:

Version of Verification/Validation Procedures:      QAPP

Step 1: Verify Field Data

A.  Are all Field Data forms present and complete?    Yes      No

If yes, proceed; if no, attempt to locate missing forms, then indicate any remaining missing forms and action taken.

| Missing Field Data Forms | Action Taken |
| --- | --- |

Total number of occurrences:

B.  Are station name and ID, and sampling date and time (ACT_START_DATE) on forms consistent with database?  Yes      No

If yes, proceed; if no, indicate errors identified, correct errors in database and re-verify.

| Station and Parameter | Action Taken | Re-verified? |
| --- | --- | --- |

Total number of occurrences:

C.  Are field data (sonde readings, Flow Condition Rating and Nutrient Level I Screening variables) on forms consistent with database?  Yes      No

If yes, proceed; if no, indicate errors identified, correct errors in database and re-verify.

| Station | Sampling Date | Parameter(s) Corrected | Re-verified? |
| --- | --- | --- | --- |

Total number of occurrences:

D.  Are RIDs correct and associated with the correct analytical suite, media subdivision (e.g. surface water, municipal waste, etc.) and activity type (e.g. Field observation, Routine sample, QA sample etc.)?

Yes      No

If yes, proceed; if no, indicate errors identified, correct errors in database and re-verify

| Station/RID | Sampling Date | RID Corrected | Re-verified? |
| --- | --- | --- | --- |

Total number of occurrences:

Step 1 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 2: Verify Data Deliverables

A.  Have all data in question been delivered?  Yes      No

If yes, proceed; if no, indicate RIDs with missing data (samples or blanks) or attach report with applicable RIDs highlighted. Contact data source and indicate action taken. Complete this step upon receipt of all missing data.

| RID | Submittal Date | Missing Data/Parameters | Date of Initial Verification | Date Missing Data Were Received |
| --- | --- | --- | --- | --- |

Total number of occurrences:

B.  Do all of the analytical suites have the correct number and type of analytes.    Yes      No

If yes, proceed; if no, indicate RIDs with missing or incorrect analyte(s) or attach report with applicable RIDs highlighted.  Contact data source and indicate action taken.

| RID | Submittal Date | Missing or Incorrect Parameters | Action Taken | Re-verified? |
| --- | --- | --- | --- | --- |

Step 2 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 3: Verify Flow Data

A.  Identify incorrect or missing data on the flow calculation spreadsheet and correct errors.

| Station | Sampling Date | Flow data missing or incorrect? |
| --- | --- | --- |

Total number of occurrences:

B.  Identify incorrect or missing discharge measurements, correct errors in database and re-verify.

| Station | Sampling Date | Flow data missing or incorrect? | Re-verified? |
| --- | --- | --- | --- |

Total number of occurrences:

Step 3 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 4: Verify Analytical Results for Missing Information or Questionable Results

Were any results with missing/questionable information identified?  Yes      No

If no, proceed; if yes, indicate results with missing information or questionable results or attach report. Contact data source and indicate action taken. Complete this step upon receipt of missing information or clarification of questionable results (clarify questionable results only, DO NOT change results without written approval (from lab or QA officer) and associated documentation).

| RID | Sample Date | Missing or Questionable Information/Results | Action Taken |
| --- | --- | --- | --- |

Total number of occurrences:

Step 4 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 5: Validate Blanks Results

Were any analytes of concern detected in blank samples?    Yes      No

If no, proceed; if yes, list results that need to have validation codes applied in the database save these results as an excel file and forward to QA officer or Program Manager, with a request to add appropriate validation codes to database. Complete this step after verifying that validation codes have been added to database correctly.

| RID | Sample Date | Parameter | [Blank] | [Sample] | Validation Code/Flag Applied | Code/Flag verified in database?* |
| --- | --- | --- | --- | --- | --- | --- |

*See validation procedures to determine which associated data need to be flagged and include on Validation Codes Form.

Total number of occurrences:

Step 5 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 6: Validate Holding Times Violations

Were any samples submitted that did not meet specified holding times?    Yes      No

If no, proceed; if yes, list results that need to have validation codes applied in the database save these results as an excel file and forward to QA officer or Program Manager with a request to add appropriate validation codes to database. Complete this step after verifying that validation codes/flags have been added to database.

| RID | Sample Date | Parameter | [Blank] | [Sample] | Validation Code/Flag Applied | Code/Flag verified in database to ALL associated data?* |
| --- | --- | --- | --- | --- | --- | --- |

*See validation procedures to determine which associated data need to be flagged.

Total number of occurrences:

Step 6 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 7: Validate Replicate/Duplicate Results (if applicable)

Were any replicate/duplicate pairs submitted outside of the established control limit of 20%?

Yes      No

If no, proceed; if yes, list results that need to have validation codes applied in the database save these results as an excel file and forward to QA officer or Program Manager with a request to add appropriate validation codes to database. Complete this step after verifying that validation codes/flags have been added to database.

| RID Pairs | Replicate or Duplicate? | Sample Date | Parameter | RPD | Validation Code/Flag Applied | Code/Flag verified in database applied?* |
| --- | --- | --- | --- | --- | --- | --- |

*See validation procedures to determine which associated data need to be flagged.

Total number of occurrences:

Step 7 Completed	Initials:        Date:

********************************************************************************************

After all of the above steps have been completed, save and print the worksheet, attach all applicable supplemental information and sign below.

I acknowledge that the data verification and validation process has been completed for the data identified above in accordance with the procedures described in the SWQB QAPP.

_____________________________________________________________

Data Verifier/Validator Signature						Date

COMPLETION OF DATA VERIFICATION AND VALIDATION PROCESS

Once the data verification and validation process has been completed for the entire study (note: if the worksheet is for a subset of the data from a study, be sure ALL the data for the entire study is included before final completion of the data verification and validation process), notify the NMSQUID administrator that the process is complete and request that “V V in STORET” be added to the project title.

Once all data have been verified and validated for a study provide copies of ALL Data Verification and Validation Worksheets and attachments associated with the study to the Quality Assurance Officer and retain originals in the project binder.

# Attachment A-2 Physical/Habitat Data Verification and Validation Worksheet

Study Name:

Year:

Project Coordinator:

Data covered by this worksheet:

Version of Verification/Validation Procedures:      QAPP

Step 1: Verify Field Data

Are all field forms present and complete and indicated as having been verified in field?

Yes      No

If yes, proceed; if no, attempt to locate missing forms or identify unverified forms, then indicate any remaining missing information and action taken.

| Station | Date | List Form(s) | Missing or Unverified? | Action Taken |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 1 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 2: Verify Data Transcription

Based on field forms from previous step, are field data on forms consistent with database?

Yes      No

If yes, proceed; if no, indicate errors identified, correct errors in database and re-verify.

| Station | Sampling Date | Parameter(s) Corrected | Re-verified? |
| --- | --- | --- | --- |

Total number of occurrences:

Step 2 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 3: Validate Replicate/Duplicate Samples

Were any replicate/duplicate pairs identified as out of control (> 15% RPD)?   Yes      No

If no, proceed; if yes, identify which sampling events and associated metrics/indices were out of control and note RPD value on associated field sheets and comment sections of electronic versions.

| Station | Sampling Date(s) | Replicate or Duplicate? | Metric/Index | Relative Percent Difference |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 3 Completed	Initials:        Date:

********************************************************************************************

After all of the above steps have been completed, save and print the worksheet, attach all applicable supplemental information and sign below.

I acknowledge that the data verification and validation process has been completed for the data identified above in accordance with the procedures described in the SWQB QAPP.

_____________________________________________________________

Data Verifier/Validator Signature						Date

COMPLETION OF DATA VERIFICATION AND VALIDATION PROCESS

Once the data verification and validation process has been completed for the entire study (note: if the worksheet is for a subset of the data from a study, be sure ALL the data for the entire study is included before final completion of the data verification and validation process), provide copies of ALL Data Verification and Validation Worksheets and attachments associated with the study to the Quality Assurance Officer and retain originals in the project binder.

# Attachment A-3 Biological Data Verification and Validation Worksheet

Study Name:

Year:

Project Coordinator:

Type of Biological Data Being Verified and Validated:

Data covered by this worksheet:

Version of Verification/Validation Procedures:      QAPP

Step 1: Verify Field Data

Are all field forms containing biological collection information complete and indicated as having been verified in field?

Yes      No

If yes, proceed; if no, attempt to locate missing forms or identify unverified forms, then indicate any remaining missing information and action taken.

| Station | Date | List Form(s) | Missing or Unverified? | Action Taken |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 1 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 2: Verify Completeness of Data Deliverables (taxonomic results received from laboratory

Have all data in question been delivered?  Yes      No

If yes, proceed; if no, indicate missing data. Contact data source and indicate action taken. Complete this step upon receipt of all missing data.

| Station | Date | Missing Data/Parameters | Date of Initial Verification | Date Missing Data Were Received |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 2 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 3: Verify Laboratory Results for Missing or Questionable Information

Were any results with missing/questionable information identified?  Yes      No

If no, proceed; if yes, indicate results with missing information or questionable results or attach report. Contact data source and indicate action taken. Complete this step upon receipt of missing information or clarification of questionable results (clarify questionable results only, DO NOT change results without written approval (from lab) and associated documentation).

| Station | Sample Date | Missing or Questionable Information/Results | Action Taken |
| --- | --- | --- | --- |

Total number of occurrences:

Step 3 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 4: Verify Data Transcription

Based on field forms or results received from laboratory from previous step, are data on forms consistent with database?  Yes      No

If yes, proceed; if no, indicate errors identified, correct errors in database and re-verify.

| Station | Sampling Date | Parameter(s) Corrected | Re-verified? |
| --- | --- | --- | --- |

Total number of occurrences:

Step 4 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 5: Validate Reported Quality Control Results

Were any laboratory reported quality controls identified as out of control?   Yes      No

If no, proceed; if yes, identify which measures were out of control and the corrective action taken.

| Station | Sampling Date(s) | QC measure | Value | Action taken |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 5 Completed	Initials:        Date:

********************************************************************************************

After all of the above steps have been completed, save and print the worksheet, attach all applicable supplemental information and sign below.

I acknowledge that the data verification and validation process has been completed for the data identified above in accordance with the procedures described in the SWQB QAPP.

_____________________________________________________________

Data Verifier/Validator Signature						Date

COMPLETION OF DATA VERIFICATION AND VALIDATION PROCESS

Once the data verification and validation process has been completed for the entire study (note: if the worksheet is for a subset of the data from a study, be sure ALL the data for the entire study is included before final completion of the data verification and validation process), provide copies of ALL Data Verification and Validation Worksheets and attachments associated with the study to the Quality Assurance Officer and retain originals in the project binder.

# Attachment A-3 LTD Data Verification and Validation Worksheet

Study Name:

Year:

Project Coordinator:

Type of LTD Data Being Verified and Validated:

Data covered by this worksheet:

Version of Verification/Validation Procedures:      QAPP

Step 1: Verify Field Data, csv File, and Station and Event  Metadata

Are all field deployment forms complete and match station and study metadata in database including but not limited to filename, deployment and retrieval dates, and sampling events?

Yes      No

If yes, proceed; if no, attempt to locate missing forms or incorrect station and file metadata, then indicate any remaining missing information and action taken.

| Station | Date | List Form(s) | Missing or Unverified? | Action Taken |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 1 Completed	Initials:        Date:

- - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - - -

Step 2: Verify that all LTD data has been reviewed, truncated to deployment and retrieval dates, qualified as necessary, and summary statistics generated and accurately recorded in database

Have all LTD data in question been delivered, attributed, and faithfully transcribed?  Yes      No

If yes, proceed; if no, indicate missing or incorrect data. Contact data source and indicate action taken after receipt of all missing data.

| Station | Date | Missing Data/Parameters | Date of Initial Verification | Date Missing Data Were Received |
| --- | --- | --- | --- | --- |

Total number of occurrences:

Step 2 Completed	Initials:        Date:

Attachment B-1 SWQB Validation Codes

Field and analytical data are verified and validated for completeness, correctness and conformance of the dataset against specified method, procedural or contractual requirements..

When deficiencies are identified through the data verification and validation process, the SWQB documents or “flags” the deficiencies by assigning validation codes. All data collected from the last compliant QC sample and up to the next compliant QC sample are assigned validation codes.

The validation code alerts the data user that the results are outside QA control limits and may require re-sampling or a separate, qualitative analysis based on professional judgment.

| Validation Code | Definition | WQX Equivalent |
| --- | --- | --- |
| A1 | Sample not collected according to SOP |  |
| B1 | Chemical was detected in the field blank at a concentration less than 5% of the sample concentration. |  |
| BN | Blanks NOT collected during sampling run |  |
| BU | Detection in blank. Analyte was not detected in this sample above the method's sample detection limit. | BU |
| RB1 | Chemical was detected in the field blank at a concentration greater than or equal to 5% of the sample concentration. Results for this sample are rejected because they may be the result of contamination; the results may not be reported or used for regulatory compliance purposes. | B |
| R1 | Rejected due to incorrect sample preservation | R |
| R2 | Rejected due to equipment failure in the field | R |
| R3 | Rejected based on best professional judgment | R |
| D1 | Spike recovery not within method acceptance limits |  |
| F1 | Sample filter time exceeded |  |
| J1 | Estimated: the analyte was positively identified and the associated value is an approximate concentration of the analyte in the sample | J |
| K1 | Holding time violation | H |
| Ea | Estimated-Incubation temperature between 35.5 and 38.0° Celsius |  |
| Er | Rejected-Incubation temperature < 34.5 or >38.0° Celsius |  |
| PD1 | Percent difference between duplicate samples excessive |  |
| S1 | Per SLD, uncertainties (sigmas) are expressed as one standard deviation, i.e. one standard error. Small negative or positive values that are less than two standard deviations should be interpreted as “less than the detection limit.” |  |
| S2 | Data are suspect but deemed usable based on best professional judgment; documentation of justification is required and should be included in the Data Verification and Validation Packet and reported with results |  |
| Z1 | Macroinvertebrate data did not meet QC criteria specified in Section 2.5 of QAPP |  |
| H1 | Habitat data did not meet QC criteria specified in Section 2.5 of QAPP |  |

Attachment B-2 SLD Data Qualifiers

The following description of data qualifiers is from SLD (2011):

In some cases, it may be necessary to report data using associated data qualifiers. Circumstances warranting the use of data qualifiers are varied, but generally reflect an anomaly with QC criteria, which may or may not disqualify the use of the data for its intended purpose. Qualifiers are meant to inform the user of inconsistencies that occurred during the course of analysis due to matrix effects, sampler or analyst error, lab accident, or any other uncontrollable situation. Qualifiers aid the user in making judgments regarding data quality and use.

This Appendix provides a list of New Mexico Scientific Laboratory Division Chemistry Bureau data qualifiers (SLD 2011). Data qualifiers used by other laboratories in previous years are found in previous QAPPs.

| Data Qualifier | Description | WQX Equivalent |
| --- | --- | --- |
| A | See note/comments. |  |
| B | Analyte was detected in the laboratory blank. | B |
| C | Spike recovery in laboratory fortified blank is within method acceptance limits. |  |
| D | Spike recovery in laboratory fortified blank is not within method acceptance limits. |  |
| E | Analyte value exceeded calibration range. |  |
| F | Sample matrix interference suspected. |  |
| H | Sample was analyzed in duplicate. |  |
| I | Sample was analyzed in triplicate. |  |
| J | Analyte was detected at a level below the method's sample detection limit. |  |
| K | Holding time was exceeded at laboratory. | H |
| L | Regulated parameter value equals or exceeds the EPA SDWA Maximum Contamination Level. |  |
| M | Regulated parameter value equals or exceeds the EPA SDWA Action Level. |  |
| N | Insufficient sample to verify results. |  |
| O | Method internal standard(s) not within method acceptance limits when analyzed undiluted. |  |
| P | Sample rejected/voided at laboratory. | R |
| Q | Sample submitted to laboratory past holding time. | H |
| R | Results based on four or more replicates. |  |
| S | Relative percent difference between duplicates greater than 10% (waters). |  |
| T | Relative percent difference between duplicates greater than 30% (soils). |  |
| U | Analyte was not detected in this sample above the method's sample detection limit. | U |

Attachment B-3 Field Quality Control Summary

| Data Type | QC Check | QC Criteria | Action for Data Not Meeting QC Requirements | Information Provided | QC Frequency |
| --- | --- | --- | --- | --- | --- |
| Chemical Data | Field Blank for nutrients, cyanide and E. coli | Parameter detected at concentration > SDL | Flag data appropriately; determine source of contamination and implement corrective action | Sample collection, transportation and/or handling bias | 1 per sampling run |
|  | Equipment Blank for dissolved metals | Parameter detected at concentration > SDL | Flag data appropriately; determine source of contamination and implement corrective action | Sample collection, transportation and/or handling bias | 1 per sampling run |
|  | Trip Blank for VOCs | Parameter detected at concentration > SDL | Flag data appropriately; determine source of contamination and implement corrective action | Sample collection, transportation and/or handling bias | 1 per sampling run |
|  | Replicates/Duplicates | RPD between samples greater than analytical uncertainty | Determine possible cause (variability in environmental conditions, improper sampling technique, lack of training, etc.); flag data if appropriate and implement corrective action | Performance characteristics for sampling protocols; environmental variability | Determined on project specific basis |
| Macro-invertebrate Data | Sample Sorting Efficiency (done by contractor) | > 95% sorting efficiency* defined as: | Re-sort entire sample and adjust data, with proper notations, to incorporate missed specimens; determine cause and implement corrective actions (retrain sorter, use larger magnification, etc.) | Sample sorter bias | 100% of total samples |
|  | Taxonomic Verification (done by contractor) | > 95% similarity between original and QC identifications | Adjust data, with proper notations, according to mutual agreement of the original and QC taxonomists; determine source of differences (specimen damage, regional familiarity, etc.) and implement corrective action | Taxonomic Identification bias | 10% of total samples |
| Fish | Taxonomic Verification (performed by Museum of Southwestern Biology) | N/A | Adjust data, with proper notations, according to mutual agreement of the original and QC taxonomists | Taxonomic Identification bias | 100% of total samples |
| Habitat Data | Field Replicates (Site sampled by different field crew) | For % sand and fines, Rp100 and other metrics and attributes as appropriate: RPD < 15% | Determine possible cause (variability in environmental conditions, improper sampling technique, lack of training, etc.); flag data appropriately and implement corrective action | Data collector bias; performance characteristics for sampling protocols (primarily field sampling precision) | 1 per sample index period |
| Hydrology Protocol | Field Replicates (Site sampled by different field crew) | For all attributes measures: +/- one scoring category For aggregate score: difference < 3 | Determine possible cause (variability in environmental conditions, improper sampling technique, lack of training, etc.); flag data appropriately and implement corrective action | Data collector bias; performance characteristics for sampling protocols (primarily field sampling precision) | 1 per sample field season |

NOTES:

RPD = Relative Percent Difference

* Independent observers microscopically re-examine 20% of sorted substrate from each sample. All organisms that were missed are counted. n1 is the total number of specimens in the first sort, and n 2 is the total number of specimens in the first and second sorts combined.

Attachment B-4 SLD Detection Flags

# Text boxes

LABORATORY DETECTION QUALIFIERS AND REPORTING CONVENTIONS

|  |  | Logical Response(1) | Flag | Reporting Convention |
| --- | --- | --- | --- | --- |
| not detected a C ≥ SDL | C < SDL | TRUE | U | Report SDL |
| detected at C ≥ SDL but < MRL | SDL ≤ C <MRL | FALSE | J | Report estimated value |
| detected at C ≥ MRL | C ≥ MRL | FALSE | No Flag | Report value |

(1) Logical Question:  Was the substance not detected at a concentration greater than or equal to the SDL?