## Turbidity Data
New Mexico Environment Department
Drinking Water Bureau
MONTHLY OPERATING REPORT FOR SURFACE WATER TREATMENT PLANTS
PUBLIC WATER | [7 empty] | PLANT NAME
SYSTEM NAME: | [7 empty] | OR NUMBER: | [6 empty] | 95% Turbidity Limit (NTU): |  |  |  |  | 0.3
[21 empty] | CONNECTION |  | missing
PWS ID No.: | [7 empty] | Connections: | [6 empty] | MAX Turbidity Limit (NTU): |  |  |  |  | 1 | POPULATION |  | missing | [5 empty] | TURBIDITY DATA SUMMARY (POP > 500 OR CONN > 166)
[29 empty] | DATA |  | OFF-LINE |  | MISSING
Month: |  |  |  |  | Year: |  |  | Population: | [12 empty] | DAYS IN MONTH |  | 0 | [5 empty] | 31 |  | 0 |  | 155
PERFORMANCE DATA
| Raw | Treated | RAW WATER |  |  | SETTLED WATER TURBIDITY | [5 empty] | FINISHED WATER QUALITY
| Water | Water | ANALYSES |  |  | (Optional Data) | [14 empty] | PUMPAGE |  |  | DISINFECTION (CT) |  | PLANT RESIDUALS |  |  | TURBIDITY | [6 empty] | TURBIDITY >= 0.35NTU | [7 empty] | TURBIDITY >= 0.55NTU | [7 empty] | TURBIDITY >= 1.05NTU | [7 empty] | TURBIDITY >= 5.05NTU
| Pumpage | Pumpage |  |  | Coag. Dose | Basin No. | [5 empty] | Combined Filter Effluent (CFE) Turbidity | [6 empty] | Lowest Residual |  | RAW | TREATED |  | MISSING | SOR | MISSING | Cl<REQD | Cl<REQD | [6 empty] | DAILY | [6 empty] | TOTAL | DAILY | [6 empty] | TOTAL | DAILY | [6 empty] | TOTAL | DAILY | [6 empty] | TOTAL | DAILY
Date | (MGD) | (MGD) | NTU | Alk. |  | 1 | 2 | 3 | 4 | 5 | 6 | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | MAX |  | Time | WATER | WATER |  | DATA | REQD | DATA | T<=4HRS | T>4HRS | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | SUMMARY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | READINGS | SUMMARY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | READINGS | SUMMARY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | READINGS | SUMMARY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | READINGS | SUMMARY
1 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | [17 empty] | 0 |  |  | missing | missing |  | 1 | 0 | 1 | #REF! | #REF! | missing | missing | missing | missing | missing | 0 | data | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | [23 empty] | 31 | 0 | 31 | #REF! | #REF! | [12 empty] | TOTAL | 0 | 0 | [5 empty] | TOTAL | 0 | 0 | [5 empty] | TOTAL | 0 | 0 | [5 empty] | TOTAL | 0 | 0
Avg |  |  |  | Number of Turbidity Readings: |  | Basin No. 6: 0
Max |  |  |  | Percentage of Readings below 95% NTU Limit:
Min |  |  |  | Number of Readings Above MAX NTU Limit: |  | Basin No. 6: 0
Certificate No.
SUBMITTED BY: | [5 empty] | Basin No. 4: and Level:; Combined Filter Effluent (CFE) Turbidity NTU4: Date:
NMED-DWB 3-24-06 | [5 empty] | Basin No. 4: PAGE 1 |  |  | SWMOR
Note on B14: If measured, enter the daily volume of raw water pumped through the treatment system in millions of gallons.
Note on D17: Enter the maximum daily raw water turbidity.
Note on E17: Raw Water Alkalinity. If not measured daily, enter values on days when measured.
Note on F16: Enter the amount of coagulant used on a per day basis, e.g. lbs/day. Include the units.
Note on L50: Total number of CFE turbidity values for the month entered by the user. This value is automatically filled in.
Note on L51: Percentage of CFE turbidity values for the month less than the 95% NTU standard (found in cell U7). If this is less than 95%, it is a treatment technique violation. This value is automatically filled in.
Note on L52: This value will be automatically filled in based on the monthly CFE turbidity values. If the number is greater than the Max NTU standard found in cell U8, it is a treatment technique violation.
Note on M17: Enter a Combined Filter Effluent turbidity for the period 12:00 am - 4:00 am
Note on N17: Enter a Combined Filter Effluent turbidity for the period 4:00 am - 8:00 am
Note on O17: Enter a Combined Filter Effluent turbidity for the period 8:00 am - 12:00 pm
Note on P17: Enter a Combined Filter Effluent turbidity for the period 12:00 pm - 4:00 pm
Note on Q17: Enter a Combined Filter Effluent turbidity for the period 4:00 pm - 8:00 pm
Note on R17: Enter a Combined Filter Effluent turbidity for the period 8:00 pm -12:00 am
Note on S17: The maximum of NTU1, NTU2, NTU3, NTU4, NTU5 and NTU6. Automatically filled in.
Note on T16: Enter the lowest chlorine residual measured for the day.
Note on U7: At least 95% of measured CFE turbidity values can be no greater than this value or it is a treatment technique violation.
Note on U9: CFE turbidity values can be no greater than this value or it is a treatment technique violation.
Note on U17: ONLY use the "Time* column to show the length of time that the disinfectant residual entering the distribution system fell below the acceptable level. Show Time in hours.
Due by the end of the next business day.
Copies of each Public Notice must accompany this report.

## Indv. Filter Data
New Mexico Environment Department
Drinking Water Bureau
MONTHLY OPERATING REPORT FOR SURFACE WATER TREATMENT PLANTS (cont)
PUBLIC WATER | [11 empty] | PLANT NAME
SYSTEM NAME: | [11 empty] | OR NUMBER:
PWS ID No.: | [11 empty] | Month: | [5 empty] | Year:
PERFORMANCE DATA
INDIVIDUAL FILTER EFFLUENT (IFE) TURBIDITY
| Filter No. 1 |  | Filter No. 2 |  | Filter No. 3 |  | Filter No. 4 |  | Filter No. 5 |  | Filter No. 6 |  | Filter No. 7 |  | Filter No. 8 |  | Filter No. 9 |  | Filter No. 10
Date | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs | Max | 4 Hrs
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
SUMMARY & COMPLIANCE ACTIONS | [9 empty] | Filter No.
| Criteria | [8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | Plant
| Number of Readings at 4.0 hours Above 0.5 NTU This Month | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Number of Readings Above 1.0 NTU This Month | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Number of Readings Above 1.0 NTU Last Month
Number of Readings Above 1.0 NTU Two Months Ago
| Total Number of Months with Readings Above 1.0 NTU. | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Number of Readings Above 2.0 NTU This Month | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Number of Readings Above 2.0 NTU Last Month
Is the Plant required to submit a Filter Profile Report? | bar: Filter No. 1 to Filter No. 10
Is the System required to submit a Filter Assessment Report? | bar: Filter No. 1 to Filter No. 10
| Is the System required to arrange a Compliance CPE? | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N
Certificate No.
SUBMITTED BY: | [9 empty] | Filter No. 1: and Level:; Filter No. 7: Date:
NMED-DWB 3-24-06 | [9 empty] | Filter No. 1: PAGE 2 | SWMOR
Note on B14: Enter the maximum daily individual filter effluent (IFE) turbidity. If the system only monitors CFE, leave this blank.
Note on B48: The number of 4 Hour readings this month for each filter that exceed 0.5 NTU. These values for each filter are automatically filled in based on the 4 Hour vales entered above. Only pertains to systems serving populations >= 10,000.
Note on B49: The number of IFE values this month that exceed 1.0 NTU. This value is automatically filled in based on the Max IFE values entered above.
Note on B50: Enter the number of readings above 1.0 NTU for each filter from last months MOR.
Note on B51: Enter the number of readings above 1.0 NTU for each filter from the MOR submitted 2 months ago.
Note on B52: The total number months out of this month and the previous 2 where there were IFE turbidity readings above 1.0 NTU. This value is automatically calculated from the 3 cells above.
Note on B53: The number of IFE entries this month for each filter that exceed 2.0 NTU. This value is automatically filled in based on the entries above.
Note on B54: Enter the number of IFE readings last month for each filter that exceed 2.0 NTU. These values should be taken from last month's MOR.
Note on B55: For systems serving populations >= 10,000, if either the number of 4 Hour readings above .5 NTU >0 or the number of IFE readings above 1 NTU >0, then a filter profile report is required and the value for this item is "Y". It is automatically filled in.
Note on B56: If there has been an IFE reading above 1 NTU for the 3 consecutive months on the same filter, a filter assessment is required for that filter and the value for this item will be "Y". It is automatically filled in.
Note on B57: If there has been an IFE reading >2 NTU for two consecutive months on the same filter, a CPE will be required. Please discuss this matter with DWB.
Note on C14: If the system serves a population of 10,000 or more, enter the IFE turbidity at the end of four hours of continuous filter operation after the filter is returned to service from backwash or shutdown.

## CFE Evaluation (hidden)
| Combined Filter Effluent Reading Analysis | [7 empty] | Number of Readings That are Under 95% Level | [5 empty] | Eligible Readings
DAY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | DAY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6 | DAY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6
1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 6 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 1 | 1 | 1 | 1 | 1 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 1 | 1 | 1 | 1 | 1 | 1 | 13 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 1 | 1 | 1 | 1 | 1 | 1 | 14 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1 | 1 | 1 | 1 | 1 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 1 | 1 | 1 | 1 | 1 | 1 | 16 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 1 | 1 | 1 | 1 | 1 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 1 | 1 | 1 | 1 | 1 | 1 | 18 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 1 | 1 | 1 | 1 | 1 | 1 | 19 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 1 | 1 | 1 | 1 | 1 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 1 | 1 | 1 | 1 | 1 | 1 | 21 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 1 | 1 | 1 | 1 | 1 | 1 | 22 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 1 | 1 | 1 | 1 | 1 | 1 | 23 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 1 | 1 | 1 | 1 | 1 | 1 | 24 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 1 | 1 | 1 | 1 | 1 | 1 | 25 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 1 | 1 | 1 | 1 | 1 | 1 | 26 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 1 | 1 | 1 | 1 | 1 | 1 | 27 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 1 | 1 | 1 | 1 | 1 | 1 | 28 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 1 | 1 | 1 | 1 | 1 | 1 | 29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 1 | 1 | 1 | 1 | 1 | 1 | 30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 31 | 0 | 0 | 0 | 0 | 0 | 0
SUM | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | SUM | 0 | 0 | 0 | 0 | 0 | 0
TOTAL NUMBER OF READINGS | Combined Filter Effluent Reading Analysis NTU4: 0 | [7 empty] | TOTAL NUMBER OF READINGS BELOW 95% LEVEL | [5 empty] | 0
Number of Readings That Exceed MAX Standard
DAY | NTU1 | NTU2 | NTU3 | NTU4 | NTU5 | NTU6
1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
SUM | 0 | 0 | 0 | 0 | 0 | 0
TOTAL NUMBER OF READINGS ABOVE MAX LEVEL | Number of Readings That Exceed MAX Standard NTU6: 0

## IFE Evaluation (hidden)
| Evaluating for Greater Than 0.5 NTU | [10 empty] | Evaluating for Greater Than 1.0 NTU
DAY | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | DAY | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SUM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Evaluating for Greater Than 2.0 NTU
DAY | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0