New Mexico Environment Department  1190 St. Francis Drive,  Santa Fe, NM  87505

800-219-6157     https://www.env.nm.gov/

Water System Name:         Water System Number:

Date:

The New Mexico Environment Department (NMED) Drinking Water Bureau (DWB) thanks you for your application to install a hypochlorination system.  Properly installed and operated hypochlorination systems help protect your customers from pathogenic viruses.

The New Mexico drinking water regulations allow certified water system operators to install hypochlorination systems [20.7.10.200.C(2) NMAC, http://164.64.110.239/nmac/parts/title20/20.007.0010.pdf] under certain conditions.  To demonstrate that these conditions have been met, an application for installation of a hypochlorination system must include evidence that:

water is supplied by ground water that is not under the direct influence of surface water.  Please use the Drinking Water Watch tool, https://dww.water.net.env.nm.gov/NMDWW/, to verify that the primary source water type classification is the same as the classification made by the NMED DWB;

the water system employs a water operator that is certified in New Mexico at the level required for the water system.  Please include the water operator’s certificate;

the certified operator is responsible for the project and certifies the inactivation ratio achieved by the hypochlorination system.  Please ensure the certification block of the application page is completed by the water system operator responsible for the project;

the certified operator calculates the inactivation ratio and documents the calculation on the appropriate form.  Please include a system schematic to document the flow between facilities and a drawing to document the required baffling factors.